## Products
PRODUCT NAME | EWAD-TZPSB
[5 empty] | EWAD190TZPSB1 | EWAD220TZPSB1 | EWAD240TZPSB1 | EWAD290TZPSB1 | EWAD300TZPSB1 | EWAD350TZPSB2 | EWAD420TZPSB2 | EWAD495TZPSB2 | EWAD550TZPSB2 | EWAD620TZPSB2 | EWAD720TZPSB2 | EWAD820TZPSB2 | EWAD950TZPSB2
Cooling capacity | Nom. |  |  | kW | 183.6 | 216.1 | 244.4 | 281.9 | 323.4 | 379 | 437.3 | 501.2 | 543 | 620 | 717 | 833 | 950
| Rated |  |  | kW | 183.62 | 216.12 | 244.42 | 281.93 | 323.37 | 378.96 | 437.31 | 501.15 | 543.03 | 620 | 717 | 832.86 | 949.85
Capacity control | Minimum capacity |  |  | % | 34 | 29 | 34 | 29 | 27 | 19 | 20 | 17 | 10 | 10 | 10 | 10 | 10
Power input | Cooling |  | Nom. | kW | 50.48 | 60.72 | 68.74 | 83.43 | 95.89 | 104.6 | 124.9 | 139.1 | 151.4 | 178.8 | 182.3 | 220.4 | 252.5
EER |  |  |  |  | 3.637 | 3.559 | 3.555 | 3.379 | 3.372 | 3.623 | 3.502 | 3.603 | 3.586 | 3.468 | 3.933 | 3.78 | 3.763
ESEER |  |  |  |  | 5.54 | 5.51 | 5.42 | 5.4 | 5.35 | 5.48 | 5.48 | 5.45 | 5.5 | 5.42 | 5.59 | 5.54 | 5.55
IPLV |  |  |  |  | 6.49 | 6.35 | 6.41 | 6.35 | 6.21 | 6.52 | 6.58 | 6.55 | 6.51 | 6.47 | 6.73 | 6.6 | 6.64
SEER |  |  |  |  | 5.19 | 5.33 | 5.29 | 5.3 | 5.5 | 5.25 | 5.36 | 5.62 | 5.55 | 6.11 | 6.22 | 6.3 | 6.31
Dimensions | Unit |  | Depth | mm | 4,083 | 4,083 | 4,083 | 4,083 | 4,983 | 5,883 | 6,783 | 6,783 | 8,820 | 9,591 | 9,591 | 10,461 | 11,233
|  |  | Height | mm | 2,483 | 2,483 | 2,483 | 2,483 | 2,483 | 2,483 | 2,483 | 2,483 | 2,482 | 2,482 | 2,482 | 2,482 | 2,482
|  |  | Width | mm | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258 | 2,258
Weight | Operation weight |  |  | kg | 2,808 | 2,808 | 2,819 | 2,820 | 3,070 | 4,990 | 5,324 | 5,332 | 6,777 | 6,805 | 7,900 | 8,193 | 8,490
| Unit |  |  | kg | 2,758 | 2,758 | 2,769 | 2,770 | 3,020 | 4,735 | 5,069 | 5,077 | 6,527 | 6,555 | 7,650 | 7,943 | 8,240
Casing | Colour |  |  |  | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white | Ivory white
| Material |  |  |  | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet | Galvanized and painted steel sheet
Water heat exchanger | Type |  |  |  | Plate heat exchanger | Plate heat exchanger | Plate heat exchanger | Plate heat exchanger | Plate heat exchanger | Shell and tube | Shell and tube | Shell and tube | Shell and tube | Shell and tube | Shell and tube | Shell and tube | Shell and tube
| Water flow rate | Cooling | Nom. | l/s | 8.8 | 10.3 | 11.7 | 13.5 | 15.5 | 18.1 | 20.9 | 24 | 26 | 29.6 | 34.3 | 39.8 | 45.4
| Water pressure drop | Cooling | Nom. | kPa | 10.6 | 11 | 13.4 | 17.1 | 21.5 | 20.4 | 26.5 | 33.3 | 19.8 | 25 | 24.2 | 31.7 | 29
| Water volume |  |  | l | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 255 | 255 | 255 | 307 | 307 | 485 | 485 | 453
| Insulation material |  |  |  | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell | Closed cell
Air heat exchanger | Type |  |  |  | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel | Microchannel
Heat exchanger | Indoor side |  |  |  | water | water | water | water | water | water | water | water | water | water | water | water | water
| Outdoor side |  |  |  | Air | Air | Air | Air | Air | Air | Air | Air | Air | Air | Air | Air | Air
Fan | Quantity |  |  |  | 8 | 8 | 8 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 20 | 22 | 24
| Type |  |  |  | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller | Direct propeller
| Air flow rate |  | Nom. | l/s | 29,610 | 29,610 | 29,610 | 29,610 | 37,013 | 44,415 | 51,818 | 59,220 | 66,623 | 74,025 | 74,025 | 81,428 | 88,830
|  | Cooling | Rated | m³/h | 106,596 | 106,596 | 106,596 | 106,596 | 133,246.8 | 159,894 | 186,544.8 | 213,192 | 239,842.8 | 266,490 | 266,490 | 293,140.8 | 319,788
| Diameter |  |  | mm | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
| Speed |  |  | rpm | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700
Fan motor | Drive |  |  |  | Brushless | Brushless | Brushless | Brushless | Brushless | Brushless | Brushless | Brushless | VFD driven | VFD driven | Brushless | Brushless | Brushless
| Input |  | Cooling | W | 5,600 | 5,600 | 5,600 | 5,600 | 7,000 | 8,400 | 9,800 | 11,200 | 12,600 | 14,000 | 14,000 | 15,400 | 16,800
Compressor | Quantity |  |  |  | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Type |  |  |  | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression | Driven vapour compression
| Driver |  |  |  | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor | Electric motor
| Oil |  | Charged volume | l | 10 | 10 | 10 | 10 | 10 | 20 | 20 | 20 | 26 | 26 | 36 | 36 | 36
Operation range | Air side | Cooling | Max. | °CDB | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 55 | 55 | 55
|  |  | Min. | °CDB | -18 | -18 | -18 | -18 | -18 | -18 | -18 | -18 | -18 | -18 | -18 | -18 | -18
| Water side | Cooling | Max. | °CDB | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 20 | 20 | 20
|  |  | Min. | °CDB | -8 | -8 | -8 | -8 | -8 | -8 | -8 | -8 | -8 | -8 | -15 | -15 | -15
Sound power level | Cooling |  | Nom. | dBA | 97 | 97 | 97 | 97 | 98 | 99 | 99 | 100 | 101 | 101 | 101 | 101 | 101
Sound pressure level | Cooling |  | Nom. | dBA | 77 | 77 | 77 | 77 | 77 | 78 | 77 | 78 | 79 | 79 | 79 | 79 | 79
Refrigerant | Type |  |  |  | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a | R-134a
| GWP |  |  |  | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430 | 1,430
| Circuits |  | Quantity |  | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Charge |  |  | kg | 49 | 49 | 50 | 51 | 58 | 77 | 86 | 94 | 105 | 114 | 130 | 143 | 156
Charge | Per circuit |  |  | kgCO2Eq | 70,070 | 70,070 | 71,500 | 72,930 | 82,940 | 55,055 | 61,490 | 67,210 | 75,075 | 81,510 | 92,950 | 102,245 | 111,540
| Per circuit |  |  | TCO2Eq | 70.1 | 70.1 | 71.5 | 72.9 | 82.9 | 55.1 | 61.5 | 67.2 | 75.1 | 81.5 | 93.0 | 102.2 | 111.5
Piping connections | Evaporator water inlet/outlet (OD) |  |  |  | 3" | 3" | 4" | 4" | 4" | 6” | 6” | 6” | 168.3 mm | 168.3 mm | 219.1mm | 219.1mm | 219.1mm
Space cooling | A Condition 35°C |  | Pdc | kW | 183.62 | 216.12 | 244.42 | 281.93 | 323.37 | 378.96 | 437.31 | 501.15 | 543.03 | 620 | 717 | 832.86 | 949.85
|  |  | EERd |  | 3.64 | 3.56 | 3.56 | 3.38 | 3.37 | 3.62 | 3.5 | 3.6 | 3.59 | 3.47 | 3.93 | 3.78 | 3.76
| B Condition 30°C |  | Pdc | kW | 135.84 | 159.85 | 180.86 | 208.72 | 239.42 | 280.57 | 323.79 | 371.13 | 402 | 474.14 | 548.91 | 638.57 | 728.32
|  |  | EERd |  | 4.72 | 4.68 | 4.62 | 4.54 | 4.58 | 4.71 | 4.67 | 4.69 | 4.76 | 5.1 | 5.14 | 4.96 | 5
| C Condition 25°C |  | Pdc | kW | 86.18 | 101.4 | 114.74 | 132.44 | 152 | 178.26 | 205.78 | 235.88 | 255.37 | 301.3 | 348.8 | 405.82 | 462.83
|  |  | EERd |  | 6.13 | 6.24 | 6.12 | 6.08 | 6.29 | 6.25 | 6.34 | 6.34 | 6.46 | 7.24 | 7.39 | 7.42 | 7.42
| D Condition 20°C |  | Pdc | kW | 38.62 | 45.44 | 51.4 | 59.3 | 68.02 | 79.53 | 91.83 | 107.1 | 113.93 | 134.45 | 155.65 | 181.18 | 206.54
|  |  | EERd |  | 7.33 | 7.73 | 7.49 | 7.74 | 8.32 | 7.45 | 7.83 | 9.19 | 8.07 | 9.41 | 8.79 | 9.56 | 9.35
| ηs,c |  |  | % | 204.6 | 210.2 | 208.6 | 209 | 217 | 207 | 211.4 | 221.8 | 219 | 241.4 | 245.8 | 249 | 249.4
General | Supplier/Manufacturer details |  | Name and address |  | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy | Daikin Applied Europe - Via Piani di S.Maria 72, 00040 Ariccia (Roma), Italy
LW(A) Sound power level (according to EN14825) | dB(A) |  |  |  | 97 | 97 | 97 | 97 | 98 | 99 | 99 | 100 | 101 | 101 | 101 | 101 | 101
Cooling | Cdc (Degradation cooling) |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
Standard rating conditions used |  |  |  |  | Low temperature application | Low temperature application |  | Low temperature application | Low temperature application | Low temperature application | Low temperature application | Low temperature application | Low temperature application | Low temperature application | Low temperature application | Low temperature application | Low temperature application
Power consumption in other than active mode | Crankcase heater mode |  | PCK | W | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
| Off mode |  | POFF | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Standby mode | Cooling | PSB | W | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
| Thermostat-off mode | PTO | Cooling | W | 0.14 | 0.14 | 0.14 | 0.16 | 0.16 | 0.47 | 0.47 | 0.32 | 0.56 | 0.56 | 0.6 | 0.6 | 0.72
Power supply | Phase |  |  |  | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~
| Frequency |  |  | Hz | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Voltage |  |  | V | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| Voltage range |  | Min. | % | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
|  |  | Max. | % | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Unit | Starting current |  | Max | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Running current | Cooling | Nom. | A | 101 | 104 | 172 | 177 | 177 | 208 | 211 | 346 | 258 | 298 | 316 | 375 | 424
|  |  | Max | A | 126 | 144 | 162 | 188 | 218 | 246 | 285 | 324 | 352 | 436 | 437 | 512 | 577
| Max unit current for wires sizing |  |  | A | 136 | 150 | 176 | 205 | 238 | 267 | 289 | 352 | 383 | 476 | 475 | 557 | 629
Fans | Nominal running current (RLA) |  |  | A | 11.2 | 11.2 | 11.2 | 11.2 | 14 | 16.8 | 19.6 | 22.4 | 25.2 | 28 | 28 | 30.8 | 33.6
Compressor | Phase |  |  |  | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~ | 3~
| Voltage |  |  | V | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| Voltage range |  | Min. | % | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10
|  |  | Max. | % | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Maximum running current |  |  | A | 115 | 133 | 151 | 177 | 204 | 115 | 133 | 151 | 164 | 204 | 205 | 241 | 272
| Starting method |  |  |  | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter | Inverter
Notes |  |  |  |  | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0 | All the performances (Cooling capacity, unit power input in cooling and EER) are based on the following conditions: evaporator 12.0/7.0°C; ambient 35.0°C, unit at full load operation, operating fluid: water, fouling factor = 0
[5 empty] | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only | The value refers to the pressure drop in the evaporator only
[5 empty] | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1 | Sound power level (referred to evaporator 12/7°C, ambient 35°C full load operation) are measured in accordance with ISO 9614 and Eurovent 8/1
[5 empty] | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit. | The sound pressure level is measured via a microphone at 1m distance of the unit.
[5 empty] | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition | The minimum capacity indicated is referred to unit operating at standard Eurovent condition
[5 empty] | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request. | Dimensions and weights are for indication only and are not considered binding. Before designing the installation, consult the official drawings available from the factory on request.
[5 empty] | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options. | All data refers to the standard unit without options.
[5 empty] | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%. | Allowed voltage tolerance ± 10%. Voltage unbalance between phases must be within ± 3%.
[5 empty] | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced. | Maximum starting current: starting current of biggest compressor + current of the other compressors at maximum load + fans current at maximum load. In case of inverter driven units, no inrush current at start up is experienced.
[5 empty] | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current. | Nominal current in cooling mode: entering evaporator water temp. 12°C; leaving evaporator water temp. 7°C; ambient air temp. 35°C. Compressor + fans current.
[5 empty] | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current | Maximum running current is based on max compressor absorbed current in its envelope and max fans absorbed current
[5 empty] | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage. | Maximum unit current for wires sizing is based on minimum allowed voltage.
[5 empty] | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1 | Maximum current for wires sizing: (compressors full load ampere + fans current) x 1.1
[5 empty] | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book | For the electrical data of the hydronic kit refer to "Options technical data" part in the data book
[5 empty] | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data. | All data are subject to change without notice. Please refer to the unit nameplate data.
[5 empty] | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS). | For more details on the operating limits please refer to the Chiller Selection Software (CSS).
[5 empty] | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding | The sound pressure level is calculated from the sound power level and is for information only and not considered binding
[5 empty] | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water | Fluid: Water
[5 empty] | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels. | Equipment contains fluorinated greenhouse gases. Actual refrigerant charge depends on the final unit construction, details can be found on the unit labels.